## Slide 1
Cell culture protocol w/ volumes I use for either 10 cm or 15 cm dishes
Warm D10, PBS, and Trypsin-EDTA in water bath (not necessary, but I feel like the cells appreciate the warmer media haha)
Aspirate D10 from plate and wash with 5 mL or 10 mL of PBS (make sure to tilt the plate to get a good washing)
Aspirate PBS and add 2.5 mL or 5 mL of trypsin to plate. Tilt back and forth and place back in 37C incubator to help the cells detach.
After about 10 min, tap the plate to detach the cells (you should see them come off the plate, but if you’re not sure I check under the scope)
Collect the cells and neutralize the trypsin in 7.5 mL or 15 mL of D10. Pipette the mixture up and down multiple times to ensure you get a single-cell suspension.
If you’re just splitting, then you can just take a split of this cell mixture and seed your new plate with this (the trypsin remaining should be sufficiently dilute, so it shouldn’t prevent the cells from adhering to the new plate). Since our MDCKs grow so quickly, I usually do anywhere between a 1:15 or 1:20 split into a new plate. This usually gives me about 2 days until I need to split again.
If you’re needing to count the cells (say if you’re using them for titering or for your passaging experiment) then you’ll need to spin down the cells at this step.
  Collect volume in 50 mL conical and spin at ~300 x g to pellet.
  Resuspend in D10— or IGM, if you’re going to be using the cells for any sort of virus work. For volume, if the cells are pretty confluent and the pellet looks fairly sizeable, I’ll resuspend in ~15-20 mL of media. Pipette well again to ensure a single-cell suspension, which is super important when counting.
  Add 10 uL of the cell solution to a hemacytometer. Count one of the 4x4 squares (as long as all the squares look to have about the same number of cells in them). To be on the safe side, I usually just count all four 4x4 squares and divide the total by 4 to give me the average cell count. Add 104 to the end of the number and that’s how many cells per mL are in your suspension.
RNA extraction
Extract cellular RNA using the Qiagen RNeasy Plus Mini kit (74134)
Perform reverse transcription of extracted RNA to cDNA (again, I try to do these first two steps all on the same day to prevent RNA degradation) using AccuScript (Agilent, 200820)
Library Prep: generally, after each PCR (KOD Hot-start MM, Fisher 71-842-4) step, we perform a clean-up using Ampure beads (Beckman Coulter, A63881) and measure the dsDNA we have by picogreen (Quant-iT PicoGreen dsDNA Assay Kit, Life Technologies, P7589)
Amplify the full length HA amplicon from each sample
  Ampure clean-up
  Picogreen
Subamplicon PCR, which we call “Round 1 PCR” (amplifying the HA gene into 6 subamplicons for Illumina sequencing)
  Ampure clean-up
  Picogreen
Pool subamplicons for each sample and add on Illumina adaptors and indices with PCR, which we call “Round 2 PCR”
  Ampure clean-up
  Picogreen
Pool samples (according to proportion of clusters that should be occupied for each sample)
  Run sample through gel and extract band
  Ampure purify gel-extracted sample
  Qubit (Qubit 1x dsDNA HS assay kit, Q33231) to measure concentration of final pooled sample

## Slide 2
October 18, 2018
RNA extraction of neutralized library and standard curves. Extracted RNA from infected cells using the Qiagen RNeasy Mini Plus Kit. At 15 hpi (10AM), lysed the infected cells by adding Buffer RLT supplemented with fresh BME (made a master mix of 12 mL RLT + 120 uL BME). Pipetted 350 uL of the RLT+BME mixture 10X’s over the surface of the well while avoiding bubbles, and added to a sterile 1.5 mL eppendorf tube on ice (cells were ~50% confluent at the time of lysis)
Proceeded with rest of RNA extraction protocol according to the protocol copied on next slide
Eluted all RNA into 35 uL RNase-free water provided with the kit. Saved remainder of RNA at -80°C
Nanodropped RNA
RNA Tube | Sample name | RNA conc (ng/ul) | ul for 1000 ng | ul H2O (to 8.8 ul)
1 | 589 v1 | 346 | 2.89017341 | 5.90982659
2 | 589 v2 | 347.7 | 2.876042565 | 5.923957435
3 | 557 v1 | 300.3 | 3.33000333 | 5.46999667
4 | 557 v2 | 270.2 | 3.70096225 | 5.09903775
5 | 571 v1 | 321.3 | 3.112356054 | 5.687643946
6 | 571 v2 | 461.5 | 2.166847237 | 6.633152763
7 | 574 v1 | 448.9 | 2.227667632 | 6.572332368
8 | 574 v2 | 311 | 3.215434084 | 5.584565916
9 | 9267 neg | 274.6 | 3.641660597 | 5.158339403
10 | 9267 23 dpi | 366.4 | 2.729257642 | 6.070742358
11 | 9435 neg | 291.4 | 3.431708991 | 5.368291009
12 | 9435 23 dpi | 312.4 | 3.201024328 | 5.598975672
13 | 9437 neg | 301.1 | 3.321155762 | 5.478844238
14 | 9437 23 dpi | 347.4 | 2.878526195 | 5.921473805
15 | Perth WHO CC | 457.8 | 2.184359983 | 6.615640017
16 | 5A01 | 317.3 | 3.151591554 | 5.648408446
17 | 4F03 | 341.2 | 2.930832356 | 5.869167644
18 | 557 v2 | 313.3 | 3.191828918 | 5.608171082
31 | 557 v2 7e5 | 248.5 | 4.024144869 | 4.775855131

## Slide 3
RNeasy Plus Mini Kit protocol
- Add fresh β-mercaptoethanol to Buffer RLT Plus if buffer is over 1 month old. Alternatively aliquot Buffer RLT Plus each time and add β-mercaptoethanol freshly each time. Add 10 μL β-mercaptoethanol per 1 mL Buffer RLT Plus.
- Adherent 293T cells can either be lysed directly in the plate, after aspirating old media, or old media is aspirated, cells are washed with 1 mL PBS, trypsinized with 200 μL trypsin, neutralized with 800 μL D10, transferred to eppendorf tube, spun down, aspirated, flick tube and then lyse cells.
- When lysing cells, pipet them up/down slowly 20x. To avoid introducing bubbles, set pipet volume to something smaller than total volume.
- Volumes below are for cells grown in 6-well or 12-well plates, which will not have close to the maximum of 1x107 cells growing.
- Use new 2 mL collection tubes for every step saying to discard flow-through. Twist off caps. Need 4 2 mL collection tubes per sample.
- Try avoiding contact between RNeasy spin column and flow-through in collection tube.
- Add wash buffers to below rim of tube.
- Follow sterile RNA handling techniques. Filter tips, gloves, use RNase free Eppendorf tubes and RNase/DNase free water.
- Change tips for every pipetting step to avoid contamination.
- Work quickly through procedure.
- Lyse cells in 350 μL Buffer RLT Plus. Then vortex cells for 30’’.
- Transfer lysate to gDNA Eliminator spin column in a labeled 2 mL collection tube.
- Spin 13000 rpm 30’’. Discard spin column and add 1 volume (350 μL) 70% ethanol to each flow-through. Mix well by pipetting.
- Transfer 700 μL of the sample to a new RNeasy mini spin column in 2 mL collection tube. Close tube lid gently and spin 13000 rpm 30’’. Discard flow-through. If sample volume exceeds 700 μL, repeat this step with successive aliquots.
- Add 700 μL Buffer RW1 to spin column, close tube lid gently, spin 13000 rpm 30’’. Discard flow-through.
- Add 500 μL Buffer RPE to spin column, close tube lid gently, spin 13000 rpm 30’’. Discard flow-through.
- Add 500 μL Buffer RPE to spin column, close tube lid gently, spin 13000 rpm 2’. Discard flow-through.
- To further dry membrane, spin 13000 rpm 2’.
- Place RNeasy spin column in 1.5 mL collection tube and add 50 μL water directly to spin column membrane. Close lid. Let column sit 1’ and then spin 13000 rpm 1’ to elute RNA. Place RNA eluate on ice.
- Nanodrop 1.5 μL RNA eluate (RNA 40.00 on nanodrop).

## Slide 4
October 24, 2018
Accuscript reverse transcription of extracted RNA. I reverse transcribed the extracted RNA from today and from 20181018.
Set up the annealing reaction. Only did RT for samples #1-12 for today and #1-18 + #31 for samples from 20181018. Also had a no RNA negative control. Made the master mix as specified below, and added 10.2 ul of the master mix to each tube
Added 1000 ng of RNA to each tube and water to 8.8 ul total (see two slides previous for volumes). Mixed by pipetting
Incubated annealing reaction at 65°C for 5 min, 4°C hold
During the incubation, made the following master mixes:
On ice, added 3 ul DTT to each reaction
Then added, in order: 4 ul Accuscript MM + 4 ul RNase block MM (total = 30 ul)
Ran RT: 42°C for 90 min, 70°C for 15 min, cool to 4°C
Stored RT reactions at -20°C to do FL amplicon PCR tomorrow
Each RT |  | 36X MM | 
3 | ul 10X Accuscript buffer | 108 | ul 10X Accuscript buffer
1.2 | ul dNTP | 43.2 | ul dNTP
3 | ul 5 uM P09-HA-For | 108 | ul 5 uM P09-HA-For
3 | ul 5 uM P09-HA-Rev | 108 | ul 5 uM P09-HA-Rev
8.8 | ul RNA |  | 
 |  | 367.2 ul total MM | 
 |  | 10.2 ul each rxn | 
Accuscript master mix (36X) | 
90 | ul water
54 | ul Accuscript RT
144 | ul total
RNase block master mix (36X) | 
117 | ul water
27 | ul RNase block
144 | ul total
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
B |  |  |  |  |  |  |  |  |  |  |  | 
C | 13 | 14 | 15 | 16 | 17 | 18 | 31 | neg |  |  |  | 
D |  |  |  |  |  |  |  |  |  |  |  | 
E | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
F |  |  |  |  |  |  |  |  |  |  |  | 
G |  |  |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 5
October 25, 2018
Full-length amplicon PCR. Amplifying the full-length amplicon from cDNA: 32 samples + 5 witness band standards = 37 PCR reactions
Set up KOD MM as above, and added 48 ul of the master mix to its corresponding well of a 96-well PCR plate
Made witness band standard: used my WB amplicon (concentration = 53.6 ng/ul)
  5 ng/ul = 5e9 ssDNA molecules/ul for Perth/2009 HA amplicon (2.34 ul + 22.66 ul water). Made 5e8 to 5e3 standards (1e9 to 1e4 ssDNA molecules for 2 ul) by serially diluting 1:10 in water. Used the 5e3 to 5e7 standards as input templates for PCR
Added 2 ul template to each appropriate well, and mixed by pipetting (total = 50 ul)
Ran PCR program:
  95°C for 2 min
  95°C for 20 s
  70°C for 1 s
  50°C for 30 s, cooling at 0.5°C/s
  70°C for 40 s
  Repeat steps 2-5 for 21 additional cycles (22 cycles total)
  4°C hold
Each PCR |  | 21X MM x 2 | 
25 | ul 2X KOD Hot-Start MM | 525 | ul 2X KOD Hot-Start MM
3 | ul 5 uM P09-HA-For | 63 | ul 5 uM P09-HA-For
3 | ul 5 uM P09-HA-Rev | 63 | ul 5 uM P09-HA-Rev
17 | ul H2O | 357 | ul H2O
2 | ul template |  | 
 |  | 1008 ul total MM | 
 |  | 48 ul each rxn | 
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
B |  |  |  |  |  |  |  |  |  |  |  | 
C | 13 | 14 | 15 | 16 | 17 | 18 | 31 | neg |  |  |  | 
D |  |  |  |  |  |  |  |  |  |  |  | 
E | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
F |  |  |  |  |  |  |  |  |  |  |  | 
G | A | B | C | D | E |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  |  |  | 
PCR plate setup:
Numbered wells correspond to RNA tube #’s on slide 3
Lettered wells are as follows:
1e9 ssDNA WB standard
1e8 ssDNA WB standard
1e7 ssDNA WB standard
1e6 ssDNA WB standard
1e5 ssDNA WB standard

## Slide 6
Ran a 1% agarose gel of full-length amplicon PCR products. Ran 5 ul of each sample + 5 ul water + 2 ul 6X loading dye.
Made a 42X mix of loading dye + water: 210 ul water + 84 ul 6X loading dye.
Added 7 ul of the 16X master mix to tubes of 8-strips. Transferred 5 ul from PCR plate to buffer tubes. Ran gels at 120 V for 50 min.
I saw bands for witness band standards 1e8 to 1e9 ssDNA molecules (and a very faint band for the 1e7 ssDNA standard).
HA bands were present and quite visible for all of the antibody-selected and mock-selected samples. Based on the witness band standards, I estimate > 1e8 ssDNA molecules were present for all samples.
I will bead cleanup the full-length amplicon products.
1e9 ssDNA
1e5 ssDNA
1e6 ssDNA
1e7 ssDNA
1e8 ssDNA
1: 5A01
2: 3C06
3: 3C04
4: 4F03
5: 6C05
6: 4C01
7: Mock A
8: Mock B
9: Mock C
Neg ctrl

## Slide 7
Ampure bead purification of full-length amplicons. Purified remaining full-length amplicon PCR products using 0.9x beads. I will Ampure bead purify the 9 neutralized samples as well as the no RNA negative control and witness bands
There are 45 ul of PCR product remaining, so I added 40.5 ul beads.
Added 40.5 ul beads to each highlighted well and mixed by pipetting 20X’s
Incubated at RT for 10 min to bind
Placed on magnet for 5 min
Aspirated
Washed twice with 190 ul freshly made 80% ethanol
Air dried 10 min
Removed from rack, and dispersed beads in 60 ul EB
Incubated for 5 min to resuspend DNA
Incubated on magnet for 5 min
Transferred supernatant to a new 96-well plate in the same setup as on slide 10
Picogreen of purified full-length amplicons.
Made two standards at 2 ng/ul by adding 4 ul of the standard to 196 ul 1X TE
Added 99 ul 1X TE to sample wells. I measured all samples in duplicate and the WB’s and the neg ctrl once
Added 100 ul 1X TE to TE only wells
Added 1 ul of the Ampure-purified products to the 99 ul TE wells to measure 1:100 dilutions of each sample
Made standard rows by adding 100 ul TE to rows G and H, and added 100 ul of the independent standards to G1 and H1. Made serial dilutions of the standard by transferring 100 ul across columns, then removing 100 ul from the last column to equalize volumes (no need to change pipet tips here)
Made 1:200 picogreen dilution (40 ul to 8 ml TE), and added 100 ul to all wells containing liquid. Covered plate to protect from light, and incubated for 5 min before reading on the plate reader

## Slide 8
October 26, 2018
Round 1 PCR. Used Lib4mock (well C3) and WTplasmid (well E7) samples from 20180823, FL amplicon ampure-purified plate.
Diluted Ampure-purified full-length PCR products to 0.5 ng/ul. Added the following volumes of each sample to 150 ul EB.
Dil plate layout | 1 | 2 | 3 | 4 | 5
A | 1 |  | 9 |  | 17
B | 2 |  | 10 |  | 18
C | 3 |  | 11 |  | 19
D | 4 |  | 12 |  | 20
E | 5 |  | 13 |  | 21
F | 6 |  | 14 |  | 22
G | 7 |  | 15 |  | neg
H | 8 |  | 16 |  | 
FLamplicon plate well position | Sample | Experiment # | Conc | ul to 150 ul EB
A1 | 589 v1 | 1 | 32.0845221 | 2.374580807
A3 | 557 v1 (1:120) | 2 | 31.16558441 | 2.445738487
A5 | 571 v1 | 3 | 37.20197361 | 2.043486838
A6 | 571 v2 | 4 | 31.16558441 | 2.445738487
A7 | 574 v1 | 5 | 29.58791842 | 2.57839007
C3 | Perth WHO CC | 6 | 28.63147306 | 2.666053066
C4 | 5A01 | 7 | 34.41468555 | 2.211431384
C5 | 4F03 | 8 | 34.24355684 | 2.222646544
E1 | 589 v2 | 9 | 30.57483875 | 2.493778957
E2 | 557 v1 | 10 | 32.33769882 | 2.355697892
E3 | 557 v2 | 11 | 31.67662629 | 2.405648363
E4 | 574 v2 1:250 | 12 | 31.77273967 | 2.398254863
E5 | 574 v2 1:200 | 13 | 31.49143221 | 2.420023685
E6 | 574 v2 7e5 | 14 | 29.36521668 | 2.598282938
E7 | 9267 neg | 15 | 33.50981322 | 2.272051632
E8 | 9267 23 dpi | 16 | 28.91278052 | 2.639657177
E9 | 9435 neg | 17 | 34.42875092 | 2.210514622
E10 | 9435 23 dpi | 18 | 30.59828103 | 2.491836657
E11 | 9437 neg | 19 | 33.33165183 | 2.28438095
E12 | 9437 23 dpi | 20 | 29.21049758 | 2.612284925
 | Lib mock | 21 | 28.94380055 | 2.636778439
 | WTplasmid | 22 | 69.16683264 | 1.09223037

## Slide 9
Each round 1 PCR reaction is set up as follows (total volume = 24 ul)
12 ul 2X KOD Hot-Start MM
2 ul of 5 uM forward primer
2 ul of 5 uM reverse primer
8 ul of 0.5 ng/ul template (4 ng total)
Added 155 ul of the 2X KOD MM to each tube of an 8-strip. Using a multichannel, added 12 ul of the KOD MM column-wise. Then added 80 ul KOD MM to first seven tubes of the 8-strip and added 12 ul column-wise to second plate.
For each primer pair, made a 29X master mix in tubes 1-6 of an 8-strip: 29 ul F primer (10 uM) + 29 ul R primer (10 uM) + 58 ul water. Then added 4 ul of each primer mix row-wise.
Then added 8 ul of the 0.5 ng/ul templates to its corresponding column.
Seal with microfilm A, spin briefly, and run “HAsubampR1” under “Juhye” to run 9 total PCR cycles:
95°C for 2 min
95°C for 20 s
70°C for 1 s
54°C for 20 s, cooling at 0.5°C/s
70°C for 20 s
Go to 2, 8 times
95°C for 1 min (this step to ensure identical pairs are not annealed at the end)
4°C forever
Plate 1 | subamp 1 | subamp 2 | subamp 3 | subamp 4 | subamp 5 | subamp 6 | subamp 1 | subamp 2 | subamp 3 | subamp 4 | subamp 5 | subamp 6
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | experiment 1 |  |  |  |  |  | experiment 9 |  |  |  |  | 
B | experiment 2 |  |  |  |  |  | experiment 10 |  |  |  |  | 
C | experiment 3 |  |  |  |  |  | experiment 11 |  |  |  |  | 
D | experiment 4 |  |  |  |  |  | experiment 12 |  |  |  |  | 
E | experiment 5 |  |  |  |  |  | experiment 13 |  |  |  |  | 
F | experiment 6 |  |  |  |  |  | experiment 14 |  |  |  |  | 
G | experiment 7 |  |  |  |  |  | experiment 15 |  |  |  |  | 
H | experiment 8 |  |  |  |  |  | experiment 16 |  |  |  |  | 
Plate 2 | subamp 1 | subamp 2 | subamp 3 | subamp 4 | subamp 5 | subamp 6 | subamp 1 | subamp 2 | subamp 3 | subamp 4 | subamp 5 | subamp 6
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | experiment 17 |  |  |  |  |  |  |  |  |  |  | 
B | experiment 18 |  |  |  |  |  |  |  |  |  |  | 
C | experiment 19 |  |  |  |  |  |  |  |  |  |  | 
D | experiment 20 |  |  |  |  |  |  |  |  |  |  | 
E | experiment 21 |  |  |  |  |  |  |  |  |  |  | 
F | experiment 22 |  |  |  |  |  |  |  |  |  |  | 
G | neg ctrl |  |  |  |  |  |  |  |  |  |  | 
H |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 10
Ampure purification of Round 1 products.
After PCR was finished, added 26 ul water to each well to bring the volume to 50 ul.
Purified PCR products with 1X Ampure beads.
Added 50 ul beads to each well and mixed by pipetting 20X’s
Incubated at RT for 10 min to bind
Placed on magnet for 5 min
Aspirated
Washed twice with 190 ul freshly made 80% ethanol
Air dried 10 min
Removed from rack, and dispersed beads in 65 ul EB
Incubated for 5 min to resuspend DNA
Incubated on magnet for 5 min
Transferred supernatant to a new 96-well plate in the same set-up as the round 1 PCR plate. Used 1 ul for picogreen, and stored the remainder at -20°C
Picogreen of Ampure-purified Round 1 products.
Made two standard solutions at 2 ng/ul by diluting 10 ul of the standard to 490 ul 1X TE.
Added 99 ul 1X TE to sample wells.
Added 100 ul 1X TE to standard columns and TE only columns
Made standard curve by serially transferring 100 ul of the 2 ng/ul into row A of the standard columns, then diluting across rows.
Transferred 1 ul of the purified Round 1 PCR products to the picogreen plate for a final dilution of 1:100.
Made a 1:200 dilution of picogreen (40 ul to 8 ml 1X TE) PER PLATE for first two plates and 30 ul to 6 ml 1X TE for third plate, and added 100 ul to each well. Incubated for 5 min, read on plate reader
(Setup of PG plates on next slide)
Experiments 2, 10, and 16 all had low yields of round 1 products. Experiment 16 round 1 PCR looks like it didn’t work at all, strangely.
I will repeat these PCRs.

## Slide 11
PLATE #1 |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | 1 | 2 |  | 3 | 4 |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | experiment # 1 |  |  |  |  |  |  |  | TE only | 1.00E+00 | 1.00E+00 |  |  | 
B | experiment # 2 |  |  |  |  |  |  |  | TE only | 5.00E-01 | 5.00E-01 |  |  | 
C | experiment # 3 |  |  |  |  |  |  |  | TE only | 2.50E-01 | 2.50E-01 |  |  | 
D | experiment # 4 |  |  |  |  |  |  |  | TE only | 1.25E-01 | 1.25E-01 |  |  | 
E | experiment # 5 |  |  |  |  |  |  |  | TE only | 6.25E-02 | 6.25E-02 |  |  | 
F | experiment # 6 |  |  |  |  |  |  |  | TE only | 3.13E-02 | 3.13E-02 |  |  | 
G | experiment # 7 |  |  |  |  |  |  |  | TE only | 1.56E-02 | 1.56E-02 |  |  | 
H | experiment # 8 |  |  |  |  |  |  |  | TE only | 7.81E-03 | 7.81E-03 |  |  | 
PLATE #2 |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | 1 |  | 2 | 3 |  | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  |  |  |  |  | 1.00E+00 | 1.00E+00 | TE only | experiment # 9 |  |  |  |  | 
B |  |  |  |  |  | 5.00E-01 | 5.00E-01 | TE only | experiment # 10 |  |  |  |  | 
C |  |  |  |  |  | 2.50E-01 | 2.50E-01 | TE only | experiment # 11 |  |  |  |  | 
D |  |  |  |  |  | 1.25E-01 | 1.25E-01 | TE only | experiment # 12 |  |  |  |  | 
E |  |  |  |  |  | 6.25E-02 | 6.25E-02 | TE only | experiment # 13 |  |  |  |  | 
F |  |  |  |  |  | 3.13E-02 | 3.13E-02 | TE only | experiment # 14 |  |  |  |  | 
G |  |  |  |  |  | 1.56E-02 | 1.56E-02 | TE only | experiment # 15 |  |  |  |  | 
H |  |  |  |  |  | 7.81E-03 | 7.81E-03 | TE only | experiment # 16 |  |  |  |  | 
PLATE #3 |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | 1 | 2 |  | 3 | 4 |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | experiment # 17 |  |  |  |  |  |  |  | TE only | 1.00E+00 | 1.00E+00 |  |  | 
B | experiment # 18 |  |  |  |  |  |  |  | TE only | 5.00E-01 | 5.00E-01 |  |  | 
C | experiment # 19 |  |  |  |  |  |  |  | TE only | 2.50E-01 | 2.50E-01 |  |  | 
D | experiment # 20 |  |  |  |  |  |  |  | TE only | 1.25E-01 | 1.25E-01 |  |  | 
E | experiment # 21 |  |  |  |  |  |  |  | TE only | 6.25E-02 | 6.25E-02 |  |  | 
F | experiment # 22 |  |  |  |  |  |  |  | TE only | 3.13E-02 | 3.13E-02 |  |  | 
G | neg ctrl |  |  |  |  |  |  |  | TE only | 1.56E-02 | 1.56E-02 |  |  | 
H |  |  |  |  |  |  |  |  | TE only | 7.81E-03 | 7.81E-03 |  |  | 

## Slide 12
 | SA 1 | SA 2 | SA 3 | SA 4 | SA 5 | SA 6
experiment 1 | 1.1863 | 1.0371 | 1.0158 | 1.0513 | 1.3220 | 3.0957
experiment 2 | 0.3361 | 0.3384 | 0.2910 | 0.3045 | 0.4453 | 1.1602
experiment 3 | 1.2006 | 1.1081 | 1.1626 | 1.1081 | 1.5253 | 3.3696
experiment 4 | 1.3984 | 1.1792 | 1.0986 | 1.3626 | 1.4606 | 3.8853
experiment 5 | 0.9922 | 0.9545 | 0.9310 | 0.9522 | 1.1840 | 3.5949
experiment 6 | 0.7575 | 0.7109 | 0.6621 | 0.7179 | 1.0135 | 3.2930
experiment 7 | 1.0158 | 0.9451 | 0.9310 | 1.1792 | 1.2958 | 3.3894
experiment 8 | 1.1318 | 1.1863 | 1.1507 | 1.1768 | 1.4056 | 4.1990
 | SA 1 | SA 2 | SA 3 | SA 4 | SA 5 | SA 6
experiment 9 | 0.7922 | 0.7111 | 0.7111 | 0.6898 | 1.0402 | 2.9287
experiment 10 | 0.2116 | 0.1996 | 0.1458 | 0.1696 | 0.2500 | 0.7901
experiment 11 | 1.0402 | 0.8502 | 0.8030 | 0.9406 | 1.1511 | 2.7399
experiment 12 | 0.9492 | 0.8996 | 0.8072 | 0.4059 | 1.2668 | 2.9949
experiment 13 | 1.0011 | 0.8137 | 0.7901 | 0.8953 | 1.1511 | 2.8217
experiment 14 | 0.8631 | 0.7815 | 0.7516 | 0.7815 | 1.1947 | 3.3746
experiment 15 | 1.3436 | 1.2296 | 1.3019 | 1.4823 | 1.9509 | 3.5883
experiment 16 | 0.0143 | 0.0126 | 0.0073 | 0.0126 | 0.0179 | 0.0872
 | SA 1 | SA 2 | SA 3 | SA 4 | SA 5 | SA 6
experiment 17 | 1.2767 | 1.1830 | 1.1002 | 1.1936 | 1.4327 | 3.0522
experiment 18 | 0.9797 | 0.9902 | 0.9206 | 1.0113 | 1.2341 | 3.3726
experiment 19 | 1.3215 | 1.1809 | 1.1873 | 1.1873 | 1.6991 | 3.0015
experiment 20 | 0.9522 | 0.8177 | 0.7445 | 0.8680 | 1.1490 | 3.9520
experiment 21 | 1.0875 | 0.9543 | 0.8702 | 0.9122 | 1.1681 | 3.2598
experiment 22 | 2.8805 | 2.4768 | 2.4571 | 2.3414 | 3.0677 | 3.2178
neg ctrl | N/A | N/A | N/A | N/A | N/A | 0.0012

## Slide 13
October 30, 2018
Round 1 PCR. Repeated round 1 PCR for experiments 2, 10, and 16. Used the 0.5 ng/ul dilution of FL amplicon of experiment 2 and 10 from 20181026 (confirmed the concentration was at 0.5 ng/ul with Qubit). Remade 0.5 ng/ul dilution of experiment 16 (2.639 ul FL amplicon product + 150 ul EB).
Each round 1 PCR reaction is set up as follows (total volume = 24 ul)
12 ul 2X KOD Hot-Start MM
2 ul of 5 uM forward primer
2 ul of 5 uM reverse primer
8 ul of 0.5 ng/ul template (4 ng total)
Added 40 ul of the 2X KOD MM to first six tubes of an 8-strip. Using a multichannel, added 12 ul of the KOD MM to rows A, C, and E, columns 1-6.
For each primer pair, made a 5X master mix in tubes 1-6 of an 8-strip: 5 ul F primer (10 uM) + 5 ul R primer (10 uM) + 10 ul water. Then added 4 ul of each primer mix row-wise.
Then added 8 ul of the 0.5 ng/ul templates to its corresponding column.
Seal with microfilm A, spin briefly, and run “HAsubampR1” under “^^ike” to run 9 total PCR cycles:
95°C for 2 min
95°C for 20 s
70°C for 1 s
54°C for 20 s, cooling at 0.5°C/s
70°C for 20 s
Go to 2, 8 times
95°C for 1 min (this step to ensure identical pairs are not annealed at the end)
4°C forever
Ampure purification of Round 1 products.
After PCR was finished, added 26 ul water to each well to bring the volume to 50 ul. Purified product with 1X Ampure beads (50 ul per rxn).
Eluted product into 65 ul EB. Expt 2 = row A; expt 10 = row C; expt 16 = row E
Picogreen of Ampure-purified Round 1 products.
Measured redone round 1 products by picogreen using 1 ul of each product.
 | SA 1 | SA 2 | SA 3 | SA 4 | SA 5 | SA 6
experiment 2 | 0.8993 | 0.8719 | 0.8146 | 0.8495 | 1.3193 | 3.1681
experiment 10 | 0.6675 | 0.6900 | 0.6650 | 0.6625 | 0.9740 | 3.0498
experiment 16 | 0.7374 | 0.7249 | 0.7124 | 0.7199 | 0.9715 | 3.0670

## Slide 14
October 31, 2018
Dilute Round 1 PCR products to 0.4 ng/ul. Diluted Ampure-purified Round 1 PCR products to 0.4 ng/ul. First added the following volumes of EB to each well, then added 15 ul of purified round 1 PCR product to each well using multichannel. Mixed with multichannel. Note that experiment 2, 10, and 16 came from Round 1 REDO plate from yesterday!
PLATE 1 | subamplicon 1 | subamplicon 2 | subamplicon 3 | subamplicon 4 | subamplicon 5 | subamplicon 6
experiment 1 | 29.488 | 23.891 | 23.094 | 24.423 | 34.575 | 101.087
experiment 2 | 18.724 | 17.697 | 15.549 | 16.856 | 34.474 | 103.802
experiment 3 | 30.022 | 26.553 | 28.597 | 26.553 | 42.198 | 111.362
experiment 4 | 37.44 | 29.221 | 26.197 | 36.096 | 39.772 | 130.699
experiment 5 | 22.209 | 20.795 | 19.912 | 20.707 | 29.399 | 119.809
experiment 6 | 13.408 | 11.659 | 9.828 | 11.921 | 23.005 | 108.489
experiment 7 | 23.094 | 20.442 | 19.912 | 29.221 | 33.592 | 112.103
experiment 8 | 27.441 | 29.488 | 28.153 | 29.132 | 37.709 | 142.463
 | subamplicon 1 | subamplicon 2 | subamplicon 3 | subamplicon 4 | subamplicon 5 | subamplicon 6
experiment 9 | 14.709 | 11.666 | 11.666 | 10.867 | 24.006 | 94.828
experiment 10 | 10.032 | 10.874 | 9.939 | 9.845 | 21.523 | 99.366
experiment 11 | 24.006 | 16.881 | 15.111 | 20.273 | 28.165 | 87.746
experiment 12 | 20.597 | 18.736 | 15.272 | 0.222 | 32.507 | 97.307
experiment 13 | 22.543 | 15.513 | 14.629 | 18.575 | 28.165 | 90.815
experiment 14 | 17.364 | 14.308 | 13.186 | 14.308 | 29.801 | 111.549
experiment 15 | 35.385 | 31.112 | 33.821 | 40.584 | 58.159 | 119.562
experiment 16 | 12.651 | 12.184 | 11.716 | 11.997 | 21.43 | 100.013
PLATE 2 | subamplicon 1 | subamplicon 2 | subamplicon 3 | subamplicon 4 | subamplicon 5 | subamplicon 6
experiment 17 | 32.876 | 29.363 | 26.258 | 29.762 | 38.726 | 99.459
experiment 18 | 21.737 | 22.133 | 19.524 | 22.925 | 31.278 | 111.471
experiment 19 | 34.556 | 29.283 | 29.523 | 29.523 | 48.718 | 97.558
experiment 20 | 20.709 | 15.663 | 12.917 | 17.552 | 28.088 | 133.201
experiment 21 | 25.781 | 20.788 | 17.631 | 19.208 | 28.805 | 107.241
experiment 22 | 93.017 | 77.881 | 77.143 | 72.801 | 100.038 | 105.666
neg ctrl |  |  |  |  |  | 

## Slide 15
Pool all 6 subamplicons for each sample into a single well.
Using a new 96-well PCR plate, pooled the six subamplicons for a single sample into one well, using columns 1 and 7 for the samples. Pooled by transferring 15 ul of each sample for each subamplicon using the multichannel into its corresponding column of the new 96-well plate. Using the multichannel, I made sure each well had 90 ul of volume, and mixed the pool by pipetting.
I then made dilutions of the Round 1 pools by serially diluting the pool 1:15 three times, then a final 1:5 dilution, with the ng/ul as shown.
For the 1:15 dilutions, I transferred 10 ul sample to 140 ul EB.
For the 1:5 dilution, I transferred 10 ul sample to 40 ul EB.
 | 1: 0.4ng/ul pool | 2:1:15 of col 1 | 3: 1:15 of col 2 | 4:1:15 of col 3 | 5:1:5 of col 4 | 6: empty | 7: 0.4ng/ul pool | 8:1:15 of col 7 | 9:1:15 of col 8 | 10:1:15 of col 9 | 11:1:5 of col 10
A | experiment 1 | 2.67E-02 | 1.78E-03 | 1.19E-04 | 2.37E-05 |  | experiment 9 | 2.67E-02 | 1.78E-03 | 1.19E-04 | 2.37E-05
B | experiment 2 |  |  |  |  |  | experiment 10 |  |  |  | 
C | experiment 3 |  |  |  |  |  | experiment 11 |  |  |  | 
D | experiment 4 |  |  |  |  |  | experiment 12 |  |  |  | 
E | experiment 5 |  |  |  |  |  | experiment 13 |  |  |  | 
F | experiment 6 |  |  |  |  |  | experiment 14 |  |  |  | 
G | experiment 7 |  |  |  |  |  | experiment 15 |  |  |  | 
H | experiment 8 |  |  |  |  |  | experiment 16 |  |  |  | 
 | 1: 0.4ng/ul pool | 2:1:15 of col 1 | 3: 1:15 of col 2 | 4:1:15 of col 3 | 5:1:5 of col 4 | 6: empty
A | experiment 17 | 2.67E-02 | 1.78E-03 | 1.19E-04 | 2.37E-05 | 
B | experiment 18 |  |  |  |  | 
C | experiment 19 |  |  |  |  | 
D | experiment 20 |  |  |  |  | 
E | experiment 21 |  |  |  |  | 
F | experiment 22 |  |  |  |  | 
G |  |  |  |  |  | 
H |  |  |  |  |  | 

## Slide 16
BOTTLENECK CALCULATION
I want ~100e6 paired end reads from a lane of a HiSeq x 1/22 samples x 1/6 subamplicons = ~0.75E6 PE reads / SA / sample
(product length = primer binding region + informative sequence length + 72 bases of barcode and adaptor sequence after round 1)
Average round 1 product length = 408 bp
BOTTLENECK TO 2e5 barcodes per subamplicon, corresponding to ~3.8 reads per barcode
2e5 barcodes per SA per sample = 1e5 dsDNA molecules per subamplicon per sample
1e5 dsDNA molecules per subamplicon per sample * 6 subamplicons = 6e5 dsDNA molecules per sample
So each round 2 PCR gets 6e5 dsDNA molecules of pooled sample = 0.000264 ng of dsDNA 408 bp long
This corresponds to 11.14 ul of the pooled dilution in columns 5 or 11 for template in round 2
***Note: I am also going to bottleneck mock-neutralized library 2 (expt 19) to 2e5 barcodes per subamplicon. I will sequence this on other lane along with WT plasmid and a couple of other samples from these experiments.

## Slide 17
Experiment | Round2Index | Illumina barcode | Sequence
experiment 1 | NF01 | Illumina 2 | CGATGT
experiment 2 | NF03 | Illumina 5 | ACAGTG
experiment 3 | NF08 | Illumina 3 | TTAGGC
experiment 4 | NF09 | Illumina 8 | ACTTGA
experiment 5 | NF10 | Illumina 9 | GATCAG
experiment 6 | NF11 | Illumina 10 | TAGCTT
experiment 7 | TS22 | Illumina 22 | CGTACG
experiment 8 | TS25 | Illumina 25 | ACTGAT
experiment 9 | NF32 | Nextflex 32 | CACTCA
experiment 10 | TS12 | Illumina 12 | CTTGTA
experiment 11 | TS19 | Illumina 19 | GTGAAA
experiment 12 | TS13 | Illumina 13 | AGTCAA
experiment 13 | TS14 | Illumina 14 | AGTTCC
experiment 14 | TS15 | Illumina 15 | ATGTCA
experiment 15 | TS18 | Illumina 18 | GTCCGC
experiment 16 | TS20 | Illumina 20 | GTGGCC
experiment 17 | NF35 | Nextflex 35 | CATTTT
experiment 18 | TS23 | Illumina 23 | GAGTGG
experiment 19 | TS27 | Illumina 27 | ATTCCT
experiment 20 | NF29 | Nextflex 29 | CAACTA
experiment 21 | NF36 | Nextflex 36 | CCAACA
experiment 22 | NF31 | Nextflex 31 | CACGAT
Round 2 PCR indices:

## Slide 18
Round 2 PCR.
PCR plate setup:
Each Round 2 PCR: (40 ul total)
20 ul 2X KOD Hot-Start Master Mix
4 ul of 5 uM Rnd2ForUniversal
4 ul of 5 uM of the appropriate Rnd2RevIndex
11.14 ul of 2.37E-5 ng/ul dilutions of purified Round1 products
0.86 ul water
Sealed with Microfilm A, spun briefly, and ran “Round2” under “^^ike” for a total of 24 cycles:
95°C for 2 min
95°C for 20 s
70°C for 1 s
55°C for 20 s
70°C for 20 s
Go to 2, 23 times
4°C forever
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
A |  | experiment 1 |  | experiment 9 |  | experiment 17 |  | 
B |  | experiment 2 |  | experiment 10 |  | experiment 18 |  | 
C |  | experiment 3 |  | experiment 11 |  | experiment 19 |  | 
D |  | experiment 4 |  | experiment 12 |  | experiment 20 |  | 
E |  | experiment 5 |  | experiment 13 |  | experiment 21 |  | 
F |  | experiment 6 |  | experiment 14 |  | experiment 22 |  | 
G |  | experiment 7 |  | experiment 15 |  | no primer |  | 
H |  | experiment 8 |  | experiment 16 |  |  |  | 
PCR Master Mix
26X MM:
520 ul KOD MM
104 ul 5 uM Rnd2ForUniversal
22.36 ul H2O
Aliquot 24.86 ul of the MM into each well

## Slide 19
Ampure bead purification of Round 2 products. Purified remaining Round 2 PCR products using 1x beads. Added 40 ul beads and mixed by pipetting. Incubated at RT for 10 min to bind, placed on magnet for 5 min, and aspirated. Washed twice with 190 ul freshly made 80% ethanol. Air dried 10 min, removed from rack, and dispersed beads in 45 ul EB. Transferred supernatant to a new plate in the same setup as shown on previous slide. Stored tubes in -20°C
Picogreen of purified Round 2 products.
Made two standards at 2 ng/ul by adding 4 ul of the standard to 196 ul 1X TE
Added 99 ul 1X TE to sample wells. I measured all samples in duplicate
Added 100 ul 1X TE to TE only wells
Added 1 ul of the Ampure-purified products to the 99 ul TE wells to measure 1:100 dilutions of each sample, in duplicate
Made standard rows by adding 100 ul TE to columns 11 and 12 and making 2-fold serial dilutions
Made 1:200 picogreen dilution (40 ul to 8 ml TE), and added 100 ul to all wells containing liquid. Covered plate to protect from light, and incubated for 5 min before reading on the plate reader
Sample | ng/ul |  | Sample | ng/ul
expt1 | 8.483161731 |  | expt12 | 10.10451288
expt2 | 8.55441554 |  | expt13 | 9.848032501
expt3 | 8.621804821 |  | expt14 | 10.09894643
expt4 | 8.940313339 |  | expt15 | 14.0046696
expt5 | 7.526270143 |  | expt16 | 12.57777873
expt6 | 7.188358985 |  | expt17 | 8.594520629
expt7 | 8.28851023 |  | expt18 | 9.487443396
expt8 | 7.55184861 |  | expt19 | 8.640090728
expt9 | 9.109311741 |  | expt20 | 9.389046095
expt10 | 8.636020493 |  | expt21 | 9.83086875
expt11 | 10.34981651 |  | expt22 | 8.958882102
 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | expt1 | expt9 | expt17 | expt1 | expt9 | expt17 |  |  | TE only |  | 1.00E+00 | 1.00E+00
B | expt2 | expt10 | expt18 | expt2 | expt10 | expt18 |  |  | TE only |  | 5.00E-01 | 5.00E-01
C | expt3 | expt11 | expt19 | expt3 | expt11 | expt19 |  |  | TE only |  | 2.50E-01 | 2.50E-01
D | expt4 | expt12 | expt20 | expt4 | expt12 | expt20 |  |  | TE only |  | 1.25E-01 | 1.25E-01
E | expt5 | expt13 | expt21 | expt5 | expt13 | expt21 |  |  | TE only |  | 6.25E-02 | 6.25E-02
F | expt6 | expt14 | expt22 | expt6 | expt14 | expt22 |  |  | TE only |  | 3.13E-02 | 3.13E-02
G | expt7 | expt15 | no primer | expt7 | expt15 | no primer |  |  | TE only |  | 1.56E-02 | 1.56E-02
H | expt8 | expt16 |  | expt8 | expt16 |  |  |  | TE only |  | 7.81E-03 | 7.81E-03

## Slide 20
November 1, 2018
Pool purified Round2 products. Pooled the purified round 2 products using the appropriate ng indicated below for each sample. Pooled according to proportion of clusters should be occupied for each sample.
Sample | ng/ul | ng for pool | Vol for pool (ul)
expt1 | 10.6093 | 90 | 8.4832
expt2 | 10.5209 | 90 | 8.5544
expt3 | 10.4386 | 90 | 8.6218
expt4 | 10.0668 | 90 | 8.9403
expt5 | 11.9581 | 90 | 7.5263
expt6 | 12.5202 | 90 | 7.1884
expt7 | 10.8584 | 90 | 8.2885
expt8 | 11.9176 | 90 | 7.5518
expt9 | 9.8800 | 90 | 9.1093
expt10 | 10.4215 | 90 | 8.6360
expt11 | 8.6958 | 90 | 10.3498
expt12 | 8.9069 | 90 | 10.1045
expt13 | 9.1389 | 90 | 9.8480
expt14 | 8.9118 | 90 | 10.0989
expt15 | 6.4264 | 90 | 14.0047
expt16 | 7.1555 | 90 | 12.5778
expt17 | 10.4718 | 90 | 8.5945
expt18 | 9.4862 | 90 | 9.4874
expt19 | 10.4166 | 90 | 8.6401
expt20 | 9.5856 | 90 | 9.3890
expt21 | 9.1548 | 90 | 9.8309
expt22 | 10.0459 | 90 | 8.9589
 |  | total ng | 1980
 |  | total vol | 204.7846
 |  | ng/ul | 9.6687

## Slide 21
Agarose gel of pooled Round2 products. Ran a 2% SYBR-safe gel of the pooled Round 2 products.
Added 20 ul of 6X loading dye to 100 ul pool, and loaded 120 ul of the final pool + dye mix to two taped lanes each. Skipped a lane between the 100 bp ladder and the pooled samples since I will be excising bands. Ran gel at 100 V for 1 h 10 min. For both pooled samples, saw a band at ~500 bp, which is the expected product size.
Excised band, cut band in half, and did a Zymo gel extraction of both halves. Added 1 ml ADB buffer to each tube, melted gel slice at 42°C, and eluted in 42 ul EB.
Ampure purification of gel-extracted pooled Round2 products.
Purified both gel-extracted pooled products with 1.58X beads. Added 67 ul beads to each tube and mixed. Adsorbed for 10 min, placed on magnet for 5 minutes, then aspirated. Washed twice with 190 ul 80% ethanol, dried for 10 min, removed from magnet, and resuspended in 40 ul EB.
Stored purified products at -20°C in non-stick microfuge tubes.
Qubit of Ampure-purified pooled products.
Pool 1 = 22.2 ng/ul
Pool 2 = 21.4 ng/ul
November 5, 2018
Prepare purified pooled library for HiSeq sample submission to Hutch Genomics Core. I will submit the pooled libraries for a lane of sequencing. Lauren Gentles will be sequencing her libraries in the other lane.
Both will be sequenced in rapid run, 2x250 bp.
The total pool will be 2nM in 60 ul. This is 36.92 ng in 60 ul. Added 1.68 ul of the purified Perth/2009 library pool 1 to 58.32 ul EB.
Asked for ~1-5% PhiX spike-in and 100,000,000 reads.